INSTALLATION MANUAL

Foreword

Thank you for purchasing SKI solar collector of all-glass evacuated tube with heat pipe.

Please take time to read this manual and familiarize yourself with the function of this product.

1

Content

Notice……………………………………………………………………..3

Introduction to SKI solar collector………………………..3

Components and Material…………………………………………………………………………3

Features…………………………………………………………………………………………………...3

The most obvious advantages of SKI solar collector……………………….4

Transport and operation instruction………………………………………………………..4

Operational principle………………………………………………………………………………..5

Assembly Instruction…………….………………………………6

List of the components for SKI-CA -58/1800-12 solar collector …………..6

The installation procedure of the solar collector SKI-CA-58/1800-12…..7

The installation procedure of the solar collector SKI-CA-58/1800-12…..8

Plumbing Instruction ……………….……………………….….9

Solar Collector Connecting………………………….….…………………….…..............9

Installation on the roof……………………………………………………………...................... 10

Installation sketch picture………………………………….………………..…..............11

Maintenance for the system………….……………………..11

Maintenance………………….……….….…………………..………………...….................11

Lightning protection procedures…………………...………………………………………..12

Trouble Shooting………..………………………………….……………………..................13

Power curve ……………………………………………………………… 13

2

Notice:

- Consult or hire professionals in your area for your installation, the lightening arrester should be considered in installation.

- The system has to be mounted facing south.

- All exposed piping should be insulated properly to prevent heat loss and provide freezing protection. In the areas with ambient temperature under -5℃, electric heating wire can be served as the solution of piping freezing. Switch off the power before operation.

- Any modifications on the structures of water heater might lead to problems during service.

- Heat transfer media could be used are pure water and antifreezer.

Introduction to SKI series solar collector:

Component and Material:

End cap for manifold --- Nylon

Header box --- Aluminum

Manifold pipe --- Copper header pipe

Insulation material --- Rock Wool

Frame --- Aluminum

The Foot Base --- Stainless Steel

Heat Pipe --- Vacuum tube (Borosilicate Glass 3.3)、Cooper pipe and Aluminum Fin

Tail support ---- Aluminum

Bottom holder for heat pipes --- Nylon

Features:

-Very fast start-up even under low solar irradiance, due to the small heat capacity of the heat pipe combined with good thermal conductivity of the aluminum fin which contact the inside of the inner glass tube.

-Utilization all year round even in cold climates;

-The system will still operate in the event occasional tube breakages;

3

-The diffuse flat plate reflector unit behind the glass tubes can be easily assembled and increase efficiency by 5%;

-Larger solar water systems consisting of more than one panel can be installed using parallel and/ or series connections;

-Auxiliary electric booster is available.

The most obvious advantages of SKI solar collector

- Can be installed individually or combined with a traditional system;

- Withstand pressure.

- Can operate with occasional tubes breakage and be replaced easily.

- Works well in low-irradiance day with an electric booster.

- How to avoid cold water and hot water mixing?

If the outflow rate is limited within 8L/min, through a lot of testing such phenomenon is not obvious.

- How to clean clime after heat pipe has been used for a long time?

Carefully remove collector tubes, screw loose the heat pipe, clean the top end with decontamination.

- What are the requirements for piping and connections?

Choose good aluminum and plastic compounds whose heat-resistance is over 90℃. And ask local professional install your purchased solar water heater.

Transport and operation instruction:

Packaging and placement Requirements

1. The manifold is with carton packing; and there’s protection cap on both ends of the header pipe.

2. Prevent moisture or water infiltration when placing the cartons.

3. There are “up” signs on the carton package of the manifold, so it should be placed accordingly to avoid internal inversion.

Transportation requirements:

1. Ensure it is closely located when packing, to avoid the shaking during transport.

2. Place the bottom on a tray or other things which can load bearing.

3. Prevent infiltration of rain or water.

Preparation:

1. After receiving cartons of goods, the first thing is to check whether the cartons are deformed or damped.

2. Open the cartons and check whether the internal packaging is intact.

3. Check the quantity of the components according to the list.

4. Start the installation if everything is ready.

Using Tab.1 to help comprehend SKI series water heaters thoroughly.

Tab.1: Specifications of SKI series solar domestic water systems.

4

| Model | SKI-CA- 58/1800-12 | SKI-CA- 58/1800-15 | SKI-CA- 58/1800-18 | SKI-CA- 58/1800-20 | SKI-CA- 58/1800-24 | SKI-CA- 58/1800-30 |
| --- | --- | --- | --- | --- | --- | --- |
| Weight for Manifold (KG) | 6kgs | 8kgs | 9kgs | 10kgs | 12kgs | 15kgs |
| Packing Size for Manifold | 1120*130*150 | 1340*130*150 | 1580*130*150 | 1740*130*150 | 2060*170*190 | 2540*130*150 |
| Weight for Heat pipe (KG) | 31kgs | 38kgs | 48kgs | 53kgs | 62kgs | 79kgs |
| Weight for Frame (KG) | 8kgs | 8kgs | 8kgs | 8kgs | 12kgs | 13kgs |
| Packing Size for Frame | 2040*140 *140 | 2040*140 *140 | 2040*140 *140 | 2040*140 *140 | 2080*140 *140 | 2560*140 *140 |
| Weight of the Collector(KG) | 45kgs | 55kgs | 65kgs | 71kgs | 86kgs | 107kgs |
| Size of the Collector(mm) | 2000*1010*200 | 2000*1250*200 | 2000*1490*200 | 2000*1650 *200 | 2000*1970 *200 | 2000*2450 *200 |
| Insulation | Rock Wool | Rock Wool | Rock Wool | Rock Wool | Rock Wool | Rock Wool |
| Absorbing Area (㎡) | 1.0152㎡ | 1.269㎡ | 1.5228㎡ | 1.692㎡ | 2.0304㎡ | 2.538㎡ |
| Max.Operating Pressure(Mpa) | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 |
| Max.Title Angle | 60 | 60 | 60 | 60 | 60 | 60 |
| Min.Title Angle | 30 | 30 | 30 | 30 | 30 | 30 |
| Hailstone Resistance | ≤Φ25mm | ≤Φ25mm | ≤Φ25mm | ≤Φ25mm | ≤Φ25mm | ≤Φ25mm |
| Wind Resistance | ≤30m/s | ≤30m/s | ≤30m/s | ≤30m/s | ≤30m/s | ≤30m/s |
| Snow load | 470mm thick snow on record | 470mm thick snow on record | 470mm thick snow on record | 470mm thick snow on record | 470mm thick snow on record | 470mm thick snow on record |
| Note: The air vent and the expansion tank are needed to prevent the pressure drop. |

Operational Principle

SKI series solar collectors are all-glass evacuated solar domestic water systems combined with heat pipes. The selective coating in the inner cover of the evacuated tubes ensures high energy absorption and low heat radiance losses, which convents solar energy into heat energy and transfers to the heat pipe by an aluminum fin. The liquid in the heat pipe changes into vapour becomes liquid, returning to the base of the heat pipe. This continuous circulation transfers heat from the feat pipe to the cold water in the header pipe as long as sun is heating the collectors. Hot water can be obtained by injecting cold water from the bottom of the tank.              5

Assembly instruction

List of the components for SKI-CA-58/1800-12 solar collector

6

1. Manifold       1pcs      2.Front bracket    2pcs

3. Tube bracket  1pcs      4.Tube holder     12pcs

5. Foot board    4pcs      6.Press board      8pcs

7. Reflector board

8. Screw    M6* 45     4pcs

M8*16     8pcs

M6*12     8PCS

The installation procedure of the solar collector SKI-CA-58/1800-12

- Put the front support in the right position

(Remark: SKI-CA-58/1800-12, 15, 18, 20 equip with 2pcs of front support, SKI-CA-58/1800- 58-24, 30 equip with 3pcs of front support)

7

- Put the aluminum manifold on the top

- Install Tail support

8

- Install heat-pipe tube

- Finished product

Plumbing instruction

Solar collector connecting

The connecting of the collectors to a collector array can de designed according to the location and position of the system. Different ways of the connecting reflects the different operation efficiency .and generally parallel connection and in series connection is suitable for the collectors as shown with below drawings.

Connection in series: As shown in picture 1, put two assembled collectors together, use the copper connector to connect each solar collector with its 22mm size head .Then collector the other side of the collector with pipeline .The same kind of connecting shall be carried out between all the collectors need.

9

Parallel connection: First, connect the solar collector outlet and inlet with pipeline with the copper connector; then, as shown in pic2A and pin2B, the copper bends and three way copper connectors are used to connect the pipeline together.

The diameters of the pipeline can beΦ12, Φ14.   Φ16   and etc, and the pipeline can be some kind of copper pipe or stainless steel pipe.

Parallel Connection

Pic 2 A

Series Connection

Copper bend

Pic 2 B

Three way copper connector

Copper connector

Installation on the roof:

The optional reflecting angle for SKI series solar collector is 30 degree to 60 degree according to the local longitude and latitude

Procedures:

1. Put the assembled frame on the roof

2. Move the tile according to the location of the hole on the front support and baseboard for frame.

3. Move the frame away first, installs the mounting nail and expansion bolts into the confirmed position of roof.

4. Firm the screw under the hole, and insert the mounting nail through the hole on front legs, and the expansion bolts into the hole on baseboard according to its exact location.

5. Spin the screw on the top to adjust to the best location and then fix it.

10

Mounting nail

Expansion Bolt

Baseboard

Installation sketch picture

Maintenance for the system

Maintenance

--There’s maybe dust and oil existing in water pipe when installing .Please turn out the tap to get rid of the sundries at the first using.

--For collector surface, please do the cleaning regularly according to the local dusty rate.

11

Raining can clean the solar water heater and maintaining a clean surface can be higher collection efficiency.

--For the solar water heater with reflector, please cleanout the reflector simultaneity.

--Please check the vacuum rate or whether the vacuum tube is crashed regularly. It shows that the vacuum tube rate is down and must be replaced when the barium—titanium getter get black.

--Generally, it has filter gauze setting at the outlet of tap, the scale and sundries from water pipe always generate in filter gauze, so pleased cleanout regularly.

-- Solar water heater must be cleanout ,check-up ,antisepsis every 2 or 3 years .At normal time ,user can disinfect the system by themselves .such as buying chlorine disinfection of Pharmacy into the water ,soaking for a period of time, and then let it be know, it can play a Sterilization effect.(the use of disinfecting agents, please note the instruction ,and using quantity)

Lightning protection procedures:

-Place a lighting rod using metal frame to avoid the thunder, the lighting rod should have a suitable height.

-The solar collector must be installed in the available area where it can be avoid thunder ,it’s important to make the top of the lightning rod on the roof higher than the top of solar collector .At the same time ,the distance between the solar collector and lightning rod should be less than 3 meters.

-  Make sure that the solar water tank is connected with the lightning rod or earth-wire.

-Install a power supply lightning arrester to prevent the incursion of lighting electric wave .Don’t take shower on the days with thundering and raining.

Freeze protection

The solar collector is not suitable for frost-prone areas unless protected by a frost protection system or device.

- For all system freeze protection is provided by controller which will circulate the pump if the collector temperature approached freezing .In area with unreliable power supply a UPS (uninterrupted power supply) unit maybe used to ensure power to controller and pump during power outages.

- Fror areas with sustained winter temperatures below -5C, a closed loop filled with an antifreeze heat transfer fluid should be used to provide freeze protection .Please refer to heat transfer liquid manufacturer’s  specifications about the temperature ranges the liquid can withstand. Only food grade heat transfer fluids should be used.

- Evacuated tubes are not susceptible to damage in cold weather, and our copper heat pipes are protected against damage that could result from freezing of water inside.

- We don’t warrant the solar collector against freeze related damage.

12

Trouble shooting

| Troubles | Probable reasons | Solution |
| --- | --- | --- |
| No water flows out | not enough pressure or not water supply piping or connections have been fallen off or stemmed piping freezing | Repair circulation or clear up stems Melt the piping |
| Low hot water temperature | 1.Low radiation 2.Leakage occurs caused by loose or damaged valves 3.Collector within shadow 4.Using hot water too much in one day | Tighten or replace valves Take the shade away or mount the solar water heater anywhere else |
| No continuous water | The outflow is more than the inflow | Turn down the outflow valve |

Power curve

13